## Sheet1
Software Version | 3.13.15
Experiment File Path: | C:\Users\Public\Documents\Experiments\231031_calibration_lid.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\231031_plate_reader_calibration.prt
Plate Number | Plate 1
Date | 2023-10-31
Time | 16:24
Reader Type: | Cytation7
Reader Serial Number: | 2212220D
Reading Type | Reader
Procedure Details
Plate Type | Greiner 96 uClear Black (Use plate lid)
Eject plate on completion
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD600
Absorbance Endpoint
E1..H12
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD700
Absorbance Endpoint
E1..H12
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.7
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.9
Actual Temperature: | 23.9
Actual Temperature: | 23.9
Actual Temperature: | 23.9
Actual Temperature: | 23.9
| Well | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| OD600:600 | E1: 1.47; E2: 1.054; E3: 0.718; E4: 0.495; E5: 0.359; E6: 0.253; E7: 0.186; E8: 0.153; E9: 0.128; E10: 0.113; E11: 0.102; E12: 0.081; F1: 1.497; F2: 1.062; F3: 0.725; F4: 0.497; F5: 0.357; F6: 0.254; F7: 0.189; F8: 0.154; F9: 0.134; F10: 0.113; F11: 0.106; F12: 0.086; G1: 1.435; G2: 1.04; G3: 0.716; G4: 0.499; G5: 0.348; G6: 0.262; G7: 0.19; G8: 0.154; G9: 0.127; G10: 0.109; G11: 0.117; G12: 0.08; H1: 1.458; H2: 1.056; H3: 0.706; H4: 0.485; H5: 0.345; H6: 0.24; H7: 0.17; H8: 0.136; H9: 0.115; H10: 0.102; H11: 0.098; H12: 0.093
| OD700:700 | E1: 1.238; E2: 0.846; E3: 0.567; E4: 0.393; E5: 0.289; E6: 0.21; E7: 0.158; E8: 0.131; E9: 0.113; E10: 0.1; E11: 0.087; E12: 0.078; F1: 1.274; F2: 0.855; F3: 0.572; F4: 0.395; F5: 0.29; F6: 0.209; F7: 0.161; F8: 0.132; F9: 0.118; F10: 0.101; F11: 0.089; F12: 0.083; G1: 1.198; G2: 0.83; G3: 0.565; G4: 0.401; G5: 0.277; G6: 0.213; G7: 0.16; G8: 0.129; G9: 0.109; G10: 0.094; G11: 0.14; G12: 0.077; H1: 1.229; H2: 0.846; H3: 0.556; H4: 0.387; H5: 0.281; H6: 0.201; H7: 0.148; H8: 0.12; H9: 0.105; H10: 0.094; H11: 0.092; H12: 0.089
| GFP 30:485,530 | A1: 845; A2: 505; A3: 281; A4: 151; A5: 79; A6: 42; A7: 23; A8: 9; A9: 5; A10: 1; A11: 0; A12: 0; B1: 859; B2: 500; B3: 278; B4: 151; B5: 76; B6: 38; B7: 18; B8: 10; B9: 7; B10: 0; B11: 4; B12: 1; C1: 853; C2: 503; C3: 278; C4: 145; C5: 78; C6: 39; C7: 19; C8: 10; C9: 8; C10: 3; C11: 2; C12: 0; D1: 900; D2: 540; D3: 306; D4: 165; D5: 87; D6: 43; D7: 23; D8: 10; D9: 9; D10: 2; D11: 2; D12: 2
| GFP 40:485,530 | A1: 8126; A2: 4873; A3: 2734; A4: 1473; A5: 754; A6: 386; A7: 193; A8: 100; A9: 50; A10: 24; A11: 16; A12: 0; B1: 8254; B2: 4799; B3: 2670; B4: 1456; B5: 750; B6: 384; B7: 195; B8: 98; B9: 50; B10: 26; B11: 15; B12: 0; C1: 8228; C2: 4857; C3: 2688; C4: 1423; C5: 736; C6: 377; C7: 191; C8: 95; C9: 50; C10: 26; C11: 13; C12: 2; D1: 8616; D2: 5198; D3: 2932; D4: 1594; D5: 809; D6: 416; D7: 205; D8: 105; D9: 53; D10: 27; D11: 15; D12: 0
| GFP 50:485,530 | A1: 44144; A2: 26791; A3: 15135; A4: 8208; A5: 4215; A6: 2166; A7: 1094; A8: 547; A9: 280; A10: 144; A11: 74; A12: 3; B1: 44347; B2: 26294; B3: 14760; B4: 8082; B5: 4173; B6: 2138; B7: 1091; B8: 555; B9: 284; B10: 144; B11: 79; B12: 1; C1: 44293; C2: 26522; C3: 14770; C4: 7859; C5: 4102; C6: 2079; C7: 1063; C8: 532; C9: 272; C10: 139; C11: 74; C12: 5; D1: 46251; D2: 28238; D3: 16154; D4: 8781; D5: 4467; D6: 2305; D7: 1157; D8: 585; D9: 291; D10: 152; D11: 82; D12: 2
| GFP 60:485,530 | A1: OVRFLW; A2: 97416; A3: 56530; A4: 31150; A5: 16074; A6: 8294; A7: 4165; A8: 2078; A9: 1070; A10: 543; A11: 296; A12: 14; B1: OVRFLW; B2: 95675; B3: 55078; B4: 30645; B5: 15954; B6: 8172; B7: 4145; B8: 2119; B9: 1077; B10: 550; B11: 300; B12: 11; C1: OVRFLW; C2: 96524; C3: 55104; C4: 29872; C5: 15558; C6: 7922; C7: 4082; C8: 2020; C9: 1029; C10: 530; C11: 276; C12: 10; D1: OVRFLW; D2: OVRFLW; D3: 60444; D4: 33285; D5: 17044; D6: 8746; D7: 4410; D8: 2227; D9: 1111; D10: 580; D11: 301; D12: 10
| GFP 70:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: 90859; A5: 47547; A6: 24696; A7: 12479; A8: 6218; A9: 3195; A10: 1631; A11: 881; A12: 36; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: 89602; B5: 47321; B6: 24347; B7: 12387; B8: 6352; B9: 3217; B10: 1648; B11: 901; B12: 39; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: 87104; C5: 46146; C6: 23646; C7: 12141; C8: 6038; C9: 3094; C10: 1602; C11: 835; C12: 34; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: 96845; D5: 50369; D6: 26093; D7: 13139; D8: 6674; D9: 3342; D10: 1731; D11: 929; D12: 37
| GFP 80:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 62644; A7: 31892; A8: 15954; A9: 8225; A10: 4155; A11: 2262; A12: 91; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 61822; B7: 31811; B8: 16318; B9: 8278; B10: 4234; B11: 2347; B12: 89; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 60323; C7: 31032; C8: 15414; C9: 7860; C10: 4087; C11: 2122; C12: 89; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 66402; D7: 33836; D8: 17038; D9: 8605; D10: 4462; D11: 2371; D12: 84
| GFP 90:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: 72830; A8: 36522; A9: 18818; A10: 9568; A11: 5204; A12: 204; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: 72572; B8: 37329; B9: 19006; B10: 9616; B11: 5335; B12: 207; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: 71140; C8: 35501; C9: 18220; C10: 9366; C11: 4938; C12: 197; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: 77513; D8: 39092; D9: 19819; D10: 10223; D11: 5363; D12: 205
| GFP 100:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 78495; A9: 40613; A10: 20705; A11: 11198; A12: 465; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: 80508; B9: 40904; B10: 21007; B11: 11503; B12: 437; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 76114; C9: 39579; C10: 20289; C11: 10689; C12: 434; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: 84282; D9: 42658; D10: 22188; D11: 11776; D12: 454
| GFP 110:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: 82648; A10: 42595; A11: 22864; A12: 922; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 83268; B10: 43179; B11: 23498; B12: 874; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 80097; C10: 41328; C11: 21711; C12: 940; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 86306; D10: 45503; D11: 23971; D12: 897
| GFP 120:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 81977; A11: 44816; A12: 1793; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 84327; B11: 46042; B12: 1759; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: 80389; C11: 42498; C12: 1736; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 87988; D11: 46800; D12: 1726
| GFP 130:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 83711; A12: 3373; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 86074; B12: 3251; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 79231; C12: 3187; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 87237; D12: 3064
| GFP 140:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 5814; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 5753; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 5659; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 5683
| GFP 150:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 10778; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 10370; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 9772; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 10033
| GFP 30 TOP:485,530 | A1: 989; A2: 587; A3: 325; A4: 178; A5: 90; A6: 47; A7: 25; A8: 11; A9: 5; A10: 3; A11: 0; A12: 0; B1: 1032; B2: 582; B3: 342; B4: 176; B5: 93; B6: 47; B7: 27; B8: 12; B9: 5; B10: 6; B11: 3; B12: 0; C1: 1024; C2: 592; C3: 325; C4: 176; C5: 91; C6: 48; C7: 24; C8: 10; C9: 6; C10: 5; C11: 5; C12: 0; D1: 1107; D2: 649; D3: 364; D4: 196; D5: 101; D6: 51; D7: 27; D8: 12; D9: 6; D10: 2; D11: 1; D12: 0
| GFP 40 TOP:485,530 | A1: 9452; A2: 5613; A3: 3170; A4: 1715; A5: 875; A6: 450; A7: 228; A8: 114; A9: 60; A10: 29; A11: 15; A12: 0; B1: 9824; B2: 5549; B3: 3262; B4: 1724; B5: 890; B6: 452; B7: 229; B8: 123; B9: 61; B10: 31; B11: 17; B12: 3; C1: 9720; C2: 5685; C3: 3150; C4: 1695; C5: 869; C6: 442; C7: 230; C8: 111; C9: 58; C10: 33; C11: 15; C12: 1; D1: 10540; D2: 6168; D3: 3487; D4: 1895; D5: 965; D6: 492; D7: 247; D8: 129; D9: 61; D10: 35; D11: 17; D12: 0
| GFP 50 TOP:485,530 | A1: 51005; A2: 30815; A3: 17523; A4: 9550; A5: 4866; A6: 2516; A7: 1276; A8: 633; A9: 331; A10: 167; A11: 91; A12: 3; B1: 52473; B2: 30277; B3: 17990; B4: 9570; B5: 4964; B6: 2524; B7: 1284; B8: 666; B9: 339; B10: 174; B11: 93; B12: 4; C1: 51852; C2: 31068; C3: 17250; C4: 9336; C5: 4828; C6: 2455; C7: 1265; C8: 622; C9: 321; C10: 167; C11: 89; C12: 3; D1: 55639; D2: 33327; D3: 19076; D4: 10472; D5: 5330; D6: 2751; D7: 1378; D8: 694; D9: 349; D10: 177; D11: 94; D12: 3
| GFP 60 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: 65176; A4: 36030; A5: 18551; A6: 9554; A7: 4872; A8: 2410; A9: 1261; A10: 649; A11: 351; A12: 15; B1: OVRFLW; B2: OVRFLW; B3: 66722; B4: 36188; B5: 18862; B6: 9628; B7: 4869; B8: 2532; B9: 1287; B10: 670; B11: 360; B12: 12; C1: OVRFLW; C2: OVRFLW; C3: 64285; C4: 35481; C5: 18329; C6: 9318; C7: 4832; C8: 2389; C9: 1227; C10: 631; C11: 333; C12: 13; D1: OVRFLW; D2: OVRFLW; D3: 71156; D4: 39451; D5: 20279; D6: 10435; D7: 5293; D8: 2657; D9: 1337; D10: 692; D11: 366; D12: 10
| GFP 70 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: 54952; A6: 28481; A7: 14564; A8: 7246; A9: 3775; A10: 1936; A11: 1037; A12: 34; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: 55496; B6: 28820; B7: 14622; B8: 7625; B9: 3855; B10: 1997; B11: 1070; B12: 34; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: 54184; C6: 27867; C7: 14346; C8: 7114; C9: 3702; C10: 1904; C11: 984; C12: 34; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: 59993; D6: 31064; D7: 15739; D8: 7889; D9: 4024; D10: 2064; D11: 1078; D12: 34
| GFP 80 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 72428; A7: 37141; A8: 18449; A9: 9681; A10: 4951; A11: 2685; A12: 91; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 73063; B7: 37274; B8: 19483; B9: 9901; B10: 5116; B11: 2752; B12: 89; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 71272; C7: 36791; C8: 18274; C9: 9458; C10: 4858; C11: 2550; C12: 78; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 78753; D7: 40295; D8: 20312; D9: 10342; D10: 5330; D11: 2782; D12: 91
| GFP 90 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: 85171; A8: 42574; A9: 22378; A10: 11490; A11: 6152; A12: 221; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: 85415; B8: 44845; B9: 22891; B10: 11840; B11: 6404; B12: 216; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: 84311; C8: 41755; C9: 21733; C10: 11116; C11: 5871; C12: 192; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: 91768; D8: 46830; D9: 23640; D10: 12319; D11: 6521; D12: 200
| GFP 100 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 91706; A9: 48380; A10: 24912; A11: 13368; A12: 458; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 49412; B10: 25645; B11: 13716; B12: 436; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 90684; C9: 46817; C10: 24328; C11: 12706; C12: 430; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 51478; D10: 26647; D11: 13997; D12: 441
| GFP 110 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 50847; A11: 27210; A12: 956; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 52251; B11: 28248; B12: 890; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 95663; C10: 49494; C11: 25674; C12: 850; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 53898; D11: 28983; D12: 906
| GFP 120 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 53606; A12: 1761; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 55672; B12: 1847; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 50206; C12: 1763; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 55496; D12: 1903
| GFP 130 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 3509; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 3275; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 3146; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 3414
| GFP 140 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 6035; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 5698; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 5739; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 5779
| GFP 150 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 10594; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 10281; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 9343; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 10426