## Plate 1 - Sheet1
Software Version | 3.13.15
Experiment File Path: | C:\Users\Public\Documents\Experiments\231031_calibration_membrane.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\231031_plate_reader_calibration.prt
Plate Number | Plate 1
Date | 2023-10-31
Time | 15:47
Reader Type: | Cytation7
Reader Serial Number: | 2212220D
Reading Type | Reader
Procedure Details
Plate Type | Greiner 96 uClear Black
Eject plate on completion
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD600
Absorbance Endpoint
E1..H12
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD700
Absorbance Endpoint
E1..H12
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.2
Actual Temperature: | 23.2
Actual Temperature: | 23.2
Actual Temperature: | 23.2
Actual Temperature: | 23.2
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.3
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.4
Actual Temperature: | 23.5
Actual Temperature: | 23.5
Actual Temperature: | 23.5
| Well | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| OD600:600 | E1: 1.388; E2: 1.024; E3: 0.716; E4: 0.551; E5: 0.393; E6: 0.294; E7: 0.244; E8: 0.214; E9: 0.17; E10: 0.182; E11: 0.177; E12: 0.147; F1: 1.427; F2: 1.05; F3: 0.722; F4: 0.517; F5: 0.405; F6: 0.303; F7: 0.236; F8: 0.196; F9: 0.178; F10: 0.159; F11: 0.164; F12: 0.141; G1: 1.362; G2: 1.018; G3: 0.721; G4: 0.518; G5: 0.414; G6: 0.298; G7: 0.235; G8: 0.2; G9: 0.178; G10: 0.18; G11: 0.186; G12: 0.149; H1: 1.421; H2: 1.05; H3: 0.719; H4: 0.514; H5: 0.379; H6: 0.296; H7: 0.24; H8: 0.208; H9: 0.191; H10: 0.171; H11: 0.151; H12: 0.15
| OD700:700 | E1: 1.221; E2: 0.864; E3: 0.595; E4: 0.435; E5: 0.335; E6: 0.257; E7: 0.22; E8: 0.196; E9: 0.156; E10: 0.172; E11: 0.169; E12: 0.14; F1: 1.267; F2: 0.892; F3: 0.599; F4: 0.427; F5: 0.344; F6: 0.269; F7: 0.212; F8: 0.179; F9: 0.165; F10: 0.149; F11: 0.157; F12: 0.135; G1: 1.194; G2: 0.86; G3: 0.605; G4: 0.433; G5: 0.359; G6: 0.26; G7: 0.21; G8: 0.182; G9: 0.166; G10: 0.169; G11: 0.166; G12: 0.142; H1: 1.26; H2: 0.891; H3: 0.606; H4: 0.433; H5: 0.323; H6: 0.257; H7: 0.216; H8: 0.192; H9: 0.178; H10: 0.16; H11: 0.142; H12: 0.143
| GFP 30:485,530 | A1: 791; A2: 480; A3: 273; A4: 150; A5: 80; A6: 40; A7: 21; A8: 12; A9: 3; A10: 5; A11: 4; A12: 0; B1: 808; B2: 458; B3: 262; B4: 149; B5: 78; B6: 39; B7: 20; B8: 10; B9: 3; B10: 2; B11: 2; B12: 0; C1: 793; C2: 464; C3: 261; C4: 144; C5: 77; C6: 39; C7: 20; C8: 10; C9: 4; C10: 2; C11: 1; C12: 0; D1: 832; D2: 481; D3: 281; D4: 158; D5: 83; D6: 43; D7: 24; D8: 12; D9: 5; D10: 3; D11: 2; D12: 0
| GFP 40:485,530 | A1: 7649; A2: 4635; A3: 2662; A4: 1466; A5: 760; A6: 388; A7: 202; A8: 96; A9: 52; A10: 25; A11: 14; A12: 4; B1: 7716; B2: 4404; B3: 2515; B4: 1434; B5: 753; B6: 390; B7: 200; B8: 103; B9: 50; B10: 27; B11: 15; B12: 0; C1: 7577; C2: 4437; C3: 2524; C4: 1372; C5: 737; C6: 381; C7: 197; C8: 99; C9: 50; C10: 23; C11: 13; C12: 0; D1: 7887; D2: 4586; D3: 2698; D4: 1507; D5: 790; D6: 415; D7: 211; D8: 107; D9: 51; D10: 26; D11: 17; D12: 0
| GFP 50:485,530 | A1: 41529; A2: 25309; A3: 14652; A4: 8094; A5: 4216; A6: 2166; A7: 1116; A8: 551; A9: 281; A10: 145; A11: 78; A12: 2; B1: 41416; B2: 24176; B3: 14007; B4: 7941; B5: 4209; B6: 2171; B7: 1121; B8: 573; B9: 280; B10: 145; B11: 77; B12: 3; C1: 40883; C2: 24354; C3: 13944; C4: 7613; C5: 4103; C6: 2105; C7: 1090; C8: 540; C9: 273; C10: 138; C11: 75; C12: 5; D1: 42286; D2: 25054; D3: 14878; D4: 8309; D5: 4318; D6: 2287; D7: 1166; D8: 585; D9: 290; D10: 148; D11: 79; D12: 5
| GFP 60:485,530 | A1: OVRFLW; A2: 92305; A3: 54956; A4: 30754; A5: 16127; A6: 8314; A7: 4272; A8: 2109; A9: 1075; A10: 548; A11: 297; A12: 10; B1: OVRFLW; B2: 88778; B3: 52413; B4: 30094; B5: 15925; B6: 8304; B7: 4282; B8: 2176; B9: 1077; B10: 551; B11: 295; B12: 14; C1: OVRFLW; C2: 89579; C3: 51970; C4: 28815; C5: 15619; C6: 8055; C7: 4155; C8: 2056; C9: 1047; C10: 530; C11: 282; C12: 11; D1: OVRFLW; D2: 92019; D3: 55801; D4: 31510; D5: 16475; D6: 8752; D7: 4460; D8: 2241; D9: 1098; D10: 574; D11: 302; D12: 11
| GFP 70:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: 90276; A5: 47910; A6: 24806; A7: 12850; A8: 6324; A9: 3211; A10: 1633; A11: 881; A12: 39; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: 88672; B5: 47403; B6: 24740; B7: 12790; B8: 6517; B9: 3202; B10: 1669; B11: 884; B12: 37; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: 84592; C5: 46358; C6: 24002; C7: 12391; C8: 6173; C9: 3111; C10: 1584; C11: 832; C12: 38; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: 92237; D5: 48706; D6: 26172; D7: 13314; D8: 6719; D9: 3271; D10: 1716; D11: 918; D12: 38
| GFP 80:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 62827; A7: 32745; A8: 16253; A9: 8192; A10: 4210; A11: 2249; A12: 106; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 63016; B7: 32779; B8: 16628; B9: 8303; B10: 4247; B11: 2266; B12: 94; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 61479; C7: 31927; C8: 15748; C9: 7992; C10: 4048; C11: 2151; C12: 104; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 66265; D7: 34066; D8: 17181; D9: 8435; D10: 4425; D11: 2352; D12: 101
| GFP 90:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: 75024; A8: 37323; A9: 19011; A10: 9594; A11: 5243; A12: 224; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: 75004; B8: 38194; B9: 18978; B10: 9870; B11: 5223; B12: 215; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: 72940; C8: 36108; C9: 18516; C10: 9382; C11: 5006; C12: 230; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: 77991; D8: 39548; D9: 19444; D10: 10160; D11: 5415; D12: 229
| GFP 100:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 80018; A9: 40782; A10: 20937; A11: 11279; A12: 486; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: 82236; B9: 40950; B10: 21111; B11: 11274; B12: 487; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 77909; C9: 39797; C10: 20310; C11: 10691; C12: 487; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: 84764; D9: 41987; D10: 21877; D11: 11632; D12: 482
| GFP 110:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: 83143; A10: 42735; A11: 22849; A12: 1014; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 83629; B10: 43306; B11: 23218; B12: 961; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 80937; C10: 41438; C11: 21914; C12: 1005; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 85603; D10: 44788; D11: 23899; D12: 1029
| GFP 120:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 83170; A11: 44954; A12: 1931; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 84285; B11: 45335; B12: 1947; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: 80601; C11: 42676; C12: 1889; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 86917; D11: 46717; D12: 1963
| GFP 130:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 84041; A12: 3693; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 85040; B12: 3669; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 80009; C12: 3535; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 86934; D12: 3691
| GFP 140:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 6495; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 6457; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 6477; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 6503
| GFP 150:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 11769; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 11088; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 11296; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 10751
| GFP 30 TOP:485,530 | A1: 375; A2: 229; A3: 127; A4: 74; A5: 40; A6: 17; A7: 11; A8: 6; A9: 2; A10: 0; A11: 2; A12: 0; B1: 382; B2: 206; B3: 121; B4: 70; B5: 39; B6: 21; B7: 10; B8: 6; B9: 2; B10: 2; B11: 1; B12: 0; C1: 382; C2: 224; C3: 122; C4: 66; C5: 37; C6: 16; C7: 10; C8: 2; C9: 2; C10: 0; C11: 0; C12: 0; D1: 429; D2: 229; D3: 134; D4: 76; D5: 41; D6: 18; D7: 10; D8: 9; D9: 2; D10: 2; D11: 1; D12: 0
| GFP 40 TOP:485,530 | A1: 3659; A2: 2198; A3: 1229; A4: 685; A5: 374; A6: 179; A7: 94; A8: 49; A9: 25; A10: 12; A11: 5; A12: 0; B1: 3677; B2: 1979; B3: 1164; B4: 669; B5: 371; B6: 182; B7: 92; B8: 53; B9: 23; B10: 17; B11: 7; B12: 1; C1: 3670; C2: 2143; C3: 1182; C4: 636; C5: 352; C6: 171; C7: 91; C8: 48; C9: 27; C10: 13; C11: 7; C12: 2; D1: 4051; D2: 2218; D3: 1286; D4: 716; D5: 374; D6: 190; D7: 98; D8: 52; D9: 28; D10: 14; D11: 8; D12: 0
| GFP 50 TOP:485,530 | A1: 20287; A2: 12273; A3: 6840; A4: 3850; A5: 2058; A6: 1008; A7: 526; A8: 264; A9: 138; A10: 73; A11: 44; A12: 3; B1: 20230; B2: 11027; B3: 6433; B4: 3758; B5: 2068; B6: 1008; B7: 507; B8: 268; B9: 142; B10: 72; B11: 42; B12: 4; C1: 20306; C2: 11929; C3: 6594; C4: 3579; C5: 1967; C6: 971; C7: 509; C8: 259; C9: 137; C10: 66; C11: 39; C12: 0; D1: 22455; D2: 12244; D3: 7153; D4: 4020; D5: 2088; D6: 1065; D7: 555; D8: 285; D9: 147; D10: 72; D11: 42; D12: 4
| GFP 60 TOP:485,530 | A1: 75143; A2: 46427; A3: 26058; A4: 14733; A5: 7908; A6: 3867; A7: 2005; A8: 1012; A9: 527; A10: 280; A11: 153; A12: 6; B1: 75028; B2: 41661; B3: 24542; B4: 14380; B5: 7872; B6: 3865; B7: 1940; B8: 1032; B9: 545; B10: 275; B11: 157; B12: 9; C1: 75463; C2: 44860; C3: 24900; C4: 13616; C5: 7486; C6: 3701; C7: 1950; C8: 1008; C9: 523; C10: 259; C11: 143; C12: 10; D1: 82613; D2: 46248; D3: 27168; D4: 15332; D5: 7935; D6: 4051; D7: 2113; D8: 1089; D9: 561; D10: 286; D11: 158; D12: 8
| GFP 70 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: 76632; A4: 43709; A5: 23580; A6: 11572; A7: 5966; A8: 3007; A9: 1581; A10: 842; A11: 452; A12: 27; B1: OVRFLW; B2: OVRFLW; B3: 72213; B4: 42468; B5: 23501; B6: 11533; B7: 5809; B8: 3096; B9: 1623; B10: 819; B11: 469; B12: 23; C1: OVRFLW; C2: OVRFLW; C3: 73079; C4: 40180; C5: 22284; C6: 11033; C7: 5787; C8: 2981; C9: 1568; C10: 766; C11: 432; C12: 25; D1: OVRFLW; D2: OVRFLW; D3: 80093; D4: 45530; D5: 23707; D6: 12076; D7: 6333; D8: 3271; D9: 1674; D10: 858; D11: 469; D12: 30
| GFP 80 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: 59895; A6: 29755; A7: 15243; A8: 7696; A9: 4008; A10: 2156; A11: 1193; A12: 68; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: 59846; B6: 29509; B7: 14967; B8: 7944; B9: 4168; B10: 2107; B11: 1181; B12: 70; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: 56880; C6: 28277; C7: 14901; C8: 7668; C9: 4020; C10: 1999; C11: 1109; C12: 72; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: 60428; D6: 31022; D7: 16217; D8: 8415; D9: 4289; D10: 2223; D11: 1215; D12: 66
| GFP 90 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 68013; A7: 35092; A8: 17711; A9: 9278; A10: 4982; A11: 2732; A12: 160; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 67746; B7: 34242; B8: 18390; B9: 9616; B10: 4874; B11: 2770; B12: 155; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 65110; C7: 34185; C8: 17670; C9: 9261; C10: 4532; C11: 2575; C12: 159; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 70957; D7: 37375; D8: 19197; D9: 9857; D10: 5138; D11: 2798; D12: 151
| GFP 100 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: 75787; A8: 38499; A9: 20086; A10: 10643; A11: 5807; A12: 343; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: 73675; B8: 39413; B9: 20802; B10: 10517; B11: 5912; B12: 343; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: 73669; C8: 38017; C9: 20072; C10: 9805; C11: 5510; C12: 316; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: 79851; D8: 41479; D9: 21524; D10: 11121; D11: 6114; D12: 349
| GFP 110 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 78752; A9: 41130; A10: 22060; A11: 11734; A12: 677; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: 80718; B9: 42515; B10: 21690; B11: 12243; B12: 651; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 77752; C9: 40703; C10: 20061; C11: 11377; C12: 694; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: 84934; D9: 43692; D10: 22791; D11: 12435; D12: 665
| GFP 120 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: 79934; A10: 42533; A11: 23058; A12: 1323; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 82838; B10: 41882; B11: 23991; B12: 1309; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 80253; C10: 38990; C11: 22128; C12: 1329; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 84923; D10: 44249; D11: 24034; D12: 1398
| GFP 130 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 80674; A11: 43489; A12: 2576; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 78744; B11: 44474; B12: 2483; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: 73807; C11: 41352; C12: 2635; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 82461; D11: 45118; D12: 2321
| GFP 140 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 77073; A12: 4510; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 79251; B12: 4540; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 72439; C12: 4472; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 80748; D12: 4457
| GFP 150 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 7419; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 7822; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 7449; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 7820