## Plate 1 - Sheet1
Software Version | 3.13.15
Experiment File Path: | C:\Users\Public\Documents\Experiments\231031_calibration_nolid.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\231031_plate_reader_calibration.prt
Plate Number | Plate 1
Date | 2023-10-31
Time | 16:46
Reader Type: | Cytation7
Reader Serial Number: | 2212220D
Reading Type | Reader
Procedure Details
Plate Type | Greiner 96 uClear Black
Eject plate on completion
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD600
Absorbance Endpoint
E1..H12
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:30 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | OD700
Absorbance Endpoint
E1..H12
Wavelengths: 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Bottom, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Shake | Double Orbital: 0:15 (MM:SS)
Frequency: 282 cpm (3 mm)
Read | GFP 30 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 30
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 40 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 40
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 50 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 60 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 60
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 70 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 80 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 80
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 90 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 90
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 100 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 110 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 110
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 120 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 120
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 130 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 130
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 140 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 140
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | GFP 150 TOP
Fluorescence Endpoint
A1..D12
Filter Set 1
Excitation: 485/20, Emission: 530/20
Optics: Top, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 24
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.3
| Well | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| OD600:600 | E1: 1.38; E2: 1.006; E3: 0.655; E4: 0.459; E5: 0.312; E6: 0.199; E7: 0.134; E8: 0.097; E9: 0.074; E10: 0.063; E11: 0.053; E12: 0.038; F1: 1.382; F2: 0.985; F3: 0.662; F4: 0.452; F5: 0.311; F6: 0.199; F7: 0.137; F8: 0.098; F9: 0.081; F10: 0.062; F11: 0.051; F12: 0.038; G1: 1.35; G2: 0.959; G3: 0.658; G4: 0.473; G5: 0.313; G6: 0.207; G7: 0.143; G8: 0.099; G9: 0.075; G10: 0.061; G11: 0.07; G12: 0.038; H1: 1.334; H2: 1.003; H3: 0.671; H4: 0.467; H5: 0.332; H6: 0.207; H7: 0.139; H8: 0.105; H9: 0.077; H10: 0.061; H11: 0.051; H12: 0.038
| OD700:700 | E1: 1.164; E2: 0.805; E3: 0.514; E4: 0.361; E5: 0.248; E6: 0.162; E7: 0.112; E8: 0.084; E9: 0.066; E10: 0.057; E11: 0.049; E12: 0.037; F1: 1.167; F2: 0.791; F3: 0.52; F4: 0.355; F5: 0.249; F6: 0.163; F7: 0.114; F8: 0.084; F9: 0.072; F10: 0.056; F11: 0.048; F12: 0.037; G1: 1.131; G2: 0.764; G3: 0.517; G4: 0.375; G5: 0.249; G6: 0.169; G7: 0.119; G8: 0.086; G9: 0.066; G10: 0.055; G11: 0.074; G12: 0.037; H1: 1.115; H2: 0.801; H3: 0.527; H4: 0.367; H5: 0.263; H6: 0.168; H7: 0.116; H8: 0.091; H9: 0.068; H10: 0.055; H11: 0.047; H12: 0.037
| GFP 30:485,530 | A1: 917; A2: 526; A3: 288; A4: 154; A5: 77; A6: 40; A7: 22; A8: 10; A9: 5; A10: 2; A11: 2; A12: 0; B1: 927; B2: 528; B3: 287; B4: 154; B5: 78; B6: 40; B7: 21; B8: 13; B9: 3; B10: 0; B11: 0; B12: 2; C1: 928; C2: 533; C3: 288; C4: 151; C5: 81; C6: 38; C7: 21; C8: 9; C9: 3; C10: 3; C11: 0; C12: 0; D1: 1001; D2: 583; D3: 321; D4: 172; D5: 87; D6: 46; D7: 21; D8: 11; D9: 7; D10: 3; D11: 1; D12: 0
| GFP 40:485,530 | A1: 8835; A2: 5131; A3: 2803; A4: 1512; A5: 767; A6: 391; A7: 195; A8: 95; A9: 50; A10: 28; A11: 16; A12: 0; B1: 8960; B2: 5074; B3: 2764; B4: 1486; B5: 765; B6: 387; B7: 194; B8: 97; B9: 51; B10: 25; B11: 14; B12: 8; C1: 8955; C2: 5134; C3: 2794; C4: 1460; C5: 748; C6: 378; C7: 193; C8: 97; C9: 49; C10: 27; C11: 12; C12: 0; D1: 9594; D2: 5581; D3: 3110; D4: 1655; D5: 834; D6: 418; D7: 211; D8: 107; D9: 53; D10: 29; D11: 17; D12: 4
| GFP 50:485,530 | A1: 47899; A2: 28158; A3: 15575; A4: 8370; A5: 4271; A6: 2185; A7: 1091; A8: 551; A9: 284; A10: 142; A11: 80; A12: 6; B1: 47890; B2: 27754; B3: 15330; B4: 8250; B5: 4242; B6: 2160; B7: 1091; B8: 557; B9: 283; B10: 147; B11: 78; B12: 1; C1: 47883; C2: 27899; C3: 15359; C4: 8099; C5: 4151; C6: 2099; C7: 1071; C8: 531; C9: 273; C10: 142; C11: 73; C12: 0; D1: 50895; D2: 30283; D3: 16946; D4: 9103; D5: 4631; D6: 2331; D7: 1169; D8: 585; D9: 296; D10: 154; D11: 81; D12: 2
| GFP 60:485,530 | A1: OVRFLW; A2: OVRFLW; A3: 58104; A4: 31844; A5: 16282; A6: 8337; A7: 4187; A8: 2106; A9: 1083; A10: 551; A11: 293; A12: 8; B1: OVRFLW; B2: OVRFLW; B3: 57079; B4: 31487; B5: 16195; B6: 8267; B7: 4153; B8: 2133; B9: 1071; B10: 557; B11: 304; B12: 7; C1: OVRFLW; C2: OVRFLW; C3: 57439; C4: 30581; C5: 15765; C6: 8028; C7: 4099; C8: 2034; C9: 1040; C10: 530; C11: 279; C12: 8; D1: OVRFLW; D2: OVRFLW; D3: 62955; D4: 34612; D5: 17550; D6: 8907; D7: 4465; D8: 2258; D9: 1132; D10: 590; D11: 312; D12: 10
| GFP 70:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: 92477; A5: 48473; A6: 24863; A7: 12564; A8: 6359; A9: 3244; A10: 1662; A11: 902; A12: 27; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: 91421; B5: 47951; B6: 24547; B7: 12434; B8: 6389; B9: 3238; B10: 1684; B11: 907; B12: 22; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: 89694; C5: 46629; C6: 23848; C7: 12244; C8: 6094; C9: 3118; C10: 1587; C11: 832; C12: 25; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: 52125; D6: 26625; D7: 13335; D8: 6739; D9: 3405; D10: 1773; D11: 929; D12: 26
| GFP 80:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 63474; A7: 32125; A8: 16178; A9: 8356; A10: 4239; A11: 2289; A12: 66; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 62673; B7: 31983; B8: 16467; B9: 8362; B10: 4317; B11: 2319; B12: 66; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 60832; C7: 31479; C8: 15645; C9: 8072; C10: 4083; C11: 2143; C12: 65; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 67893; D7: 34195; D8: 17237; D9: 8701; D10: 4569; D11: 2363; D12: 67
| GFP 90:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: 73555; A8: 37301; A9: 19207; A10: 9755; A11: 5269; A12: 147; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: 73082; B8: 37820; B9: 19317; B10: 9983; B11: 5401; B12: 151; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: 71832; C8: 35996; C9: 18577; C10: 9433; C11: 4966; C12: 139; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: 78361; D8: 39775; D9: 20247; D10: 10498; D11: 5457; D12: 145
| GFP 100:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 80629; A9: 41614; A10: 21365; A11: 11410; A12: 316; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: 81325; B9: 41526; B10: 21466; B11: 11641; B12: 319; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 77294; C9: 40018; C10: 20544; C11: 10812; C12: 306; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: 85598; D9: 43325; D10: 22722; D11: 11782; D12: 310
| GFP 110:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: 84465; A10: 43507; A11: 23366; A12: 661; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 84064; B10: 43788; B11: 23711; B12: 685; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 81130; C10: 41585; C11: 21867; C12: 668; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 88168; D10: 46366; D11: 24043; D12: 653
| GFP 120:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 84135; A11: 45846; A12: 1325; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 85666; B11: 46423; B12: 1285; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: 80749; C11: 42344; C12: 1203; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 90574; D11: 46917; D12: 1251
| GFP 130:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 84538; A12: 2435; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 86411; B12: 2436; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 79649; C12: 2353; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 88073; D12: 2449
| GFP 140:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 4016; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 4163; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 4106; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 4346
| GFP 150:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 7299; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 7129; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 7231; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 7316
| GFP 30 TOP:485,530 | A1: 1306; A2: 740; A3: 410; A4: 219; A5: 112; A6: 56; A7: 28; A8: 15; A9: 8; A10: 5; A11: 4; A12: 0; B1: 1342; B2: 723; B3: 415; B4: 221; B5: 111; B6: 58; B7: 28; B8: 14; B9: 9; B10: 4; B11: 1; B12: 2; C1: 1351; C2: 742; C3: 406; C4: 216; C5: 113; C6: 57; C7: 27; C8: 14; C9: 7; C10: 5; C11: 4; C12: 0; D1: 1517; D2: 824; D3: 464; D4: 244; D5: 125; D6: 61; D7: 29; D8: 15; D9: 11; D10: 3; D11: 3; D12: 0
| GFP 40 TOP:485,530 | A1: 12414; A2: 7046; A3: 3977; A4: 2118; A5: 1087; A6: 556; A7: 280; A8: 143; A9: 74; A10: 35; A11: 19; A12: 1; B1: 12792; B2: 6910; B3: 4052; B4: 2138; B5: 1094; B6: 550; B7: 278; B8: 148; B9: 74; B10: 41; B11: 23; B12: 0; C1: 12861; C2: 7162; C3: 3928; C4: 2089; C5: 1076; C6: 540; C7: 280; C8: 138; C9: 69; C10: 34; C11: 18; C12: 0; D1: 14239; D2: 7822; D3: 4379; D4: 2361; D5: 1196; D6: 613; D7: 307; D8: 154; D9: 80; D10: 38; D11: 22; D12: 2
| GFP 50 TOP:485,530 | A1: 65681; A2: 38344; A3: 21802; A4: 11817; A5: 6030; A6: 3108; A7: 1560; A8: 793; A9: 415; A10: 208; A11: 115; A12: 3; B1: 67162; B2: 37366; B3: 22126; B4: 11746; B5: 6054; B6: 3075; B7: 1553; B8: 814; B9: 419; B10: 216; B11: 114; B12: 2; C1: 66908; C2: 38627; C3: 21463; C4: 11587; C5: 5926; C6: 2985; C7: 1549; C8: 769; C9: 395; C10: 204; C11: 105; C12: 1; D1: 73562; D2: 42154; D3: 23875; D4: 12941; D5: 6626; D6: 3369; D7: 1692; D8: 855; D9: 438; D10: 227; D11: 119; D12: 1
| GFP 60 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: 80578; A4: 44672; A5: 22936; A6: 11871; A7: 5995; A8: 3037; A9: 1572; A10: 800; A11: 435; A12: 5; B1: OVRFLW; B2: OVRFLW; B3: 81501; B4: 44085; B5: 22893; B6: 11763; B7: 5899; B8: 3095; B9: 1595; B10: 819; B11: 439; B12: 8; C1: OVRFLW; C2: OVRFLW; C3: 78993; C4: 43553; C5: 22380; C6: 11439; C7: 5927; C8: 2919; C9: 1500; C10: 772; C11: 410; C12: 7; D1: OVRFLW; D2: OVRFLW; D3: 87456; D4: 48825; D5: 25032; D6: 12901; D7: 6447; D8: 3256; D9: 1663; D10: 861; D11: 449; D12: 5
| GFP 70 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: 67371; A6: 35121; A7: 17735; A8: 9017; A9: 4746; A10: 2410; A11: 1294; A12: 20; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: 67716; B6: 34976; B7: 17567; B8: 9209; B9: 4756; B10: 2473; B11: 1317; B12: 23; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: 66098; C6: 34001; C7: 17652; C8: 8701; C9: 4503; C10: 2297; C11: 1227; C12: 27; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: 73883; D6: 38070; D7: 19186; D8: 9732; D9: 4977; D10: 2580; D11: 1339; D12: 25
| GFP 80 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: 89050; A7: 45350; A8: 23281; A9: 12108; A10: 6197; A11: 3334; A12: 55; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: 88563; B7: 44937; B8: 23646; B9: 12175; B10: 6357; B11: 3387; B12: 60; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: 85836; C7: 45069; C8: 22326; C9: 11610; C10: 5859; C11: 3133; C12: 60; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: 96409; D7: 49336; D8: 24867; D9: 12731; D10: 6620; D11: 3475; D12: 60
| GFP 90 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: 53298; A9: 27817; A10: 14228; A11: 7724; A12: 134; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: 54298; B9: 28033; B10: 14567; B11: 7808; B12: 133; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: 51564; C9: 26554; C10: 13571; C11: 7234; C12: 132; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: 57310; D9: 29428; D10: 15285; D11: 7959; D12: 132
| GFP 100 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: 59981; A10: 30814; A11: 16561; A12: 282; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: 60732; B10: 31430; B11: 16859; B12: 259; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: 57412; C10: 29233; C11: 15624; C12: 299; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: 63480; D10: 33081; D11: 17104; D12: 281
| GFP 110 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: 62534; A11: 34093; A12: 613; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: 64490; B11: 34575; B12: 566; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: 59811; C11: 32061; C12: 564; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: 67051; D11: 35572; D12: 569
| GFP 120 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: 66113; A12: 1129; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: 67026; B12: 1084; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: 62353; C12: 1112; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: 68701; D12: 1140
| GFP 130 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 2085; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 2124; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 2215; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 2119
| GFP 140 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 3767; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 3879; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 3668; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 3903
| GFP 150 TOP:485,530 | A1: OVRFLW; A2: OVRFLW; A3: OVRFLW; A4: OVRFLW; A5: OVRFLW; A6: OVRFLW; A7: OVRFLW; A8: OVRFLW; A9: OVRFLW; A10: OVRFLW; A11: OVRFLW; A12: 6536; B1: OVRFLW; B2: OVRFLW; B3: OVRFLW; B4: OVRFLW; B5: OVRFLW; B6: OVRFLW; B7: OVRFLW; B8: OVRFLW; B9: OVRFLW; B10: OVRFLW; B11: OVRFLW; B12: 6528; C1: OVRFLW; C2: OVRFLW; C3: OVRFLW; C4: OVRFLW; C5: OVRFLW; C6: OVRFLW; C7: OVRFLW; C8: OVRFLW; C9: OVRFLW; C10: OVRFLW; C11: OVRFLW; C12: 6912; D1: OVRFLW; D2: OVRFLW; D3: OVRFLW; D4: OVRFLW; D5: OVRFLW; D6: OVRFLW; D7: OVRFLW; D8: OVRFLW; D9: OVRFLW; D10: OVRFLW; D11: OVRFLW; D12: 6857